## Instructions
INSTRUCTIONS | This template was created as part of a community data reprocessing effort to standardize data reporting, improve long-term accessibility of data, and facilitate archiving of published clumped isotope data sets (Petersen et al., 2019, G^3). Questions or feedback, contact Sierra Petersen (sierravp@umich.edu).
Green cells/columns are required.
Highlight any columns you add in yellow (for example, documenting an additional variable in your particular study)
Data Source | This tab includes data about the study design, sample preparation, mass spectrometric analysis, and data processing methods. Enter the requested information in the "Value" column. Columns in green are required. The "Value Type" column indicates the required format of "Value" entries, and the "Units" column indicates the required units. Examples, and clarifications are provided in the "Comment" column. Any additional information that may be relevant now or in the future can be entered in the bottom-most "Other information" row.
FILE NAME: | LastnameEtAlYYYY_JournalAbbrev_Keyword_ClumpedArchive.xlsx, e.g. JamesEtAl2019_G-cubed_EocenePaleosols_ClumpedArchive.xlsx
Methodology + Sample Preparation Information | This tab includes data about the study design, sample preparation, mass spectrometric analysis, and data processing methods. Enter the requested information in the "Value" column. Columns in green are required. The "Value Type" column indicates the required format of "Value" entries, and the "Units" column indicates the required units. Examples, and clarifications are provided in the "Comment" column. Any additional information that may be relevant now or in the future can be entered in the bottom-most "Other information" row.
Sample Prep Info | Includes items such as acid density, temperature, reaction time, Porapak temperature and methodology, sample powdering method, any additional clean up steps
Mass Spec Analysis | Includes details of mass spectrometry such as # cycles/acquistion, # acquisitions, integration time, LIDI method? Background correction method? Running voltage, etc.
Standard Values | Define here the values used for R13_VPDB, R18_VSMOW, R17_VSMOW, Lambda (beta). E.g. "Brand parameters" or something else. Repeat this section if processing with multiple parameter sets
Data reduction | Information about conversion to absolute reference frame.
Sample + Standard Replicates | This tab should include rows for all sample replicates and all standard replicates (gas or carbonate) used to convert unknown data into the absolute reference frame. Each row in the table should correspond to a single aliquot of CO2. Individual replicates that have been removed from further analysis can be indicated, but should still be included. Columns in green are required. Detailed information on what is expected in each column is below. Add additional columns with information particularly relevant for the individual study design. In total, this tab (along with certain answers in the Metadata tab) should include enough information for someone to completely reproduce conversion from raw data to final D47 values in the absolute reference frame.
This tab can easily be transitioned into a universally readable format by deleting the top 6 rows (leaving Row 7 as the header) and saving as a .txt or .csv file.
SampName | Working Sample Name. A unique identifier for a single aliquot of CO2. e.g. "TankB_25C" or "D4519_exo_1". Should contain no spaces. Recommended punctuation is hyphen (-) or underscore (_). Absolutely no slashes (/) or periods (.) or commas (,) in sample names.
SampCategory | Sample/Standard Category. Should be exactly one of the following: gasSTD, carbSTD, carbonate, sample. Carbonate is usually an carb standard not used to convert to the ARF
SampSubCategory | Sample/Standard Sub-Category. Should be exactly one of the following abbreviations, or similar: HG = heated gas, EGtemp = equilibrated gas (e.g. EG25), synthetic, biogenic, natural, ETH# (e.g. ETH1)
SampNum | Sample Number: An integer assigned to each unique sample unknown, also listed in Sample Info/Sample Means tab. This eliminates any uncertainty or guesswork about changing sample naming conventions or typos
Mineralogy | Dominant Mineralogy: Mineralogy of sample if > 70% made up of a single mineralogy. Abbreviated by first letter. C = calcite, A = aragonite, D = dolomite, V = vaterite, S = siderite, W = witherite, M = magnesite, mix = mixture of more than two mineralogies, or where one is not dominant, O = other, NA = unknown.
Mineralogy2 | Secondary Mineralogy: Second most dominant mineralogy if more than one mineralogy, again abbreviated as above.
Date | Date: Date of aliquot analysis in format MM/DD/YY
Time | Time: Time of aliquot analysis in format HH:MM in 24-hour format
AnalysisID | Analysis ID: Integer. some kind of increasing counter (can have missing values for samples not part of this study), Day #, or other. Used for defining ARF windows.
MassSpec | Mass Spec: instrument identifier if more than one is used in this data set
FormT | Formation temperature: if known, in degrees celcius
erFormT | Error on formation temperature: if known, in degrees celcius.
rxnTemp | Temperature of acid reaction (deg C)
SampYN | Is this aliquot a sample? Y = yes, N = no.
RefYN | Aliquot used to calculate conversion to absolute reference frame? Y = yes, N = no.
Bad | Aliquot removed due to known issue? 1 = removed, 0 = kept.
D47TE | Theoretical Equilibrium Value: D47_TE assigned for each standard material used in calculating ARF (e.g. 0.0266 for HG). Should have one value for each standard (gas or carbonate), NA for samples
AFF | Acid Fractionation Factor: +X.XXX permil, added to align data to a 25C reaction temperature, should have a value for each sample aliquot, NA for standards
ARF_ID1 | ARF ID 1: Measurement Session ID. e.g. "March2011" or "2011-a" or "2". Can be text string or numeric.
ARF_ID2 | ARF ID 2: Beginning of Window. A number from the Analysis ID column that defines the beginning of the measurement session or correction window within a measurement session (e.g. Day # or counter #)
ARF_ID3 | ARF ID 3: End of Window. A number from the Analysis ID column that defines the end of the measurement session or correction window within a measurement session. Same format as ARF ID 2.
d4X | Small delta values: d45-d49 (‰, vs. lab working gas). Mean of n cycles
sd_d4X | Error on small delta values: sd_d45-sd_d49 (‰, 1 standard deviation). Calculated over all n cycles
d13C_wg_VPDB | Working gas d13C (‰, vs. VPDB)
d18O_wg_VSMOW | Working gas d18O (‰, vs. VSMOW)
d13C | d13C of gas (‰, vs. VPDB). Mean of all cycles for one replicate aliquot
sd_13 | sd_13 (‰, 1 standard deviation). Calculated over all cycles in one replicate aliquot
d18O | d18O of gas (‰, vs. VSMOW). Mean of all cycles for one replicate aliquot
sd_18 | sd_18 (‰, 1 standard deviation). Calculated over all cycles for one replicate aliquot
D47 | D47 of gas (‰, raw). Mean of all cycles for one replicate aliquot
se_47 | se_47 (‰, 1 standard error, analytical error only), calculated over all cycles for one replicate aliquot
D48 | D48 of gas (‰, raw). Mean of all cycles for one replicate aliquot
D49 | D49 of gas (‰, raw). Mean of all cycles for one replicate aliquot
SlopeEGL | Slope of Equilibrium Gas Lines: fitted through all indicated heated and equilibrated gases in correction window, unless otherwise noted, allowing a common slope and separate intercepts
SlopeETF | Slope of Empirical Transfer Function: fitted through all indicated gas and carboante standards in correction window using listed D47_TE values, using a normal linear regression
IntETF | Intercept of Empirical Transfer Function: fitted through all indicated gas and carbonate standards in correction window using listed D47_TE values, using normal linear regression
D47rfac | Final D47 (reference frame, acid corrected): D47rfac = (D47 - d47*SlopeEGL)*SlopeETF + IntETF + AFF. Calculated for each aliquot given listed values in previous columns.
AFF_d18O | Acid Fractionation Factor for d18O correction (alpha)
d18Oac | d18O of carbonate (‰, vs. VSMOW or VPDB). Mean of all cycles for one replicate aliquot, corrected for acid digestion fractionation
Sample Means + Sample Info | This tab constains mean isotopic values and sample descriptions for each sample unknown. Each row in the table should correspond to a single unknown sample. Columns in green are required. Detailed information on some columns is below. Feel free to add additional columns with information particularly relevant for the individual study design and highlight in yellow.
This tab can easily be transitioned into a readable format by deleting the top 6 rows (leaving Row 7 as the header) and deleting columns C (#3) and J (#10) and saving as a .txt or .csv file.
SampName | Working Sample Name. A unique identifier for a group of replicate aliquots of CO2 from one homogenous powder. e.g. "D4519_exo"
Description (brief text)
Description | Sample Description (brief text)
Species | Species (Genus species)
SampSubCategory | Sample Sub-Category. Should be exactly one of the following abbreviations, or similar: synthetic, biogenic, natural
SampNum | Sample Number: An integer assigned to each unique sample unknown.
Mineralogy | Dominant Mineralogy: Mineralogy of sample if > 70% made up of a single mineralogy. Abbreviated by first letter. C = calcite, A = aragonite, D = dolomite, V = vaterite, S = siderite, W = witherite, M = magnesite, mix = mixture of more than two mineralogies, or where one is not dominant, O = other, NA = unknown.
FormT | Formation temperature: if known, in degrees celcius
erFormT | Error on formation temperature: if known, in degrees celcius.
Location | Description of Location where sample was collected, or sample origin (e.g. "Brownville Formation, Texas" or "precipitated in lab")
IGSN | IGSN (International Geo Sample Number)
Latitude | Latitude (+=N, -=S, no letters)
Longtidue | Longitude (+=E, -=W, no letters)
Age | Age (Ma or time period)
Depth | Depth (meters), could be water depth or stratigraphic height
N | Number of replicates (N), number of good replicates averaged together to get this sample mean
d13C | d13C of gas (‰, vs. VPDB), average of all good replicates
sd13 | sd_13 (‰, 1 standard deviation), calculated for all good replicates
d18O | d18O of gas (‰, vs. VSMOW), average of all good replicates
sd18 | sd_18 (‰, 1 standard deviation), calculated for all good replicates
d18Oac | d18O of carbonate (‰, vs. VSMOW), calculated for all good replicates, corrected for acid digestion fractionation of d18O
D47rfac | Final D47 (reference frame, acid corrected), average of all good replicates
se47 | seBR47p (‰, 1 standard error), calculated over all good replicates, aka "internal" standard error
extSE | external 1SE (‰), calculated using long-term reproducability (1sd) and N

## Data Source
Data Source | This tab includes data about affiliated publication information and data preparer. Enter the requested information in the "Value" column. Columns in green are required. The "Value Type" column indicates the required format of "Value" entries, and the "Units" column indicates the required units. Examples, and clarifications are provided in the "Comment" column. Any additional information that may be relevant now or in the future can be entered in the bottom-most "Other information" row.
Green cells are required.
Highlight any rows you add in yellow (for example, documenting an additional variable in your particular study)
Item | Value | Value Type | Units | Comment
EarthChem Submission Information
FILE NAME: |  | text string | LastnameEtAlYYYY_JournalAbbrev_Keyword_ClumpedArchive.xlsx | e.g. JamesEtAl2019_G-cubed_EocenePaleosols_ClumpedArchive.xlsx
Title |  | text string |  | descriptive title of the dataset
Abstract |  | text string |  | brief description of dataset, aim for <250 words
Author |  | text string |  | Lastname, Firstname Initial
Institution |  | text string |  | Institution of the author
Release date |  | numeric |  | Date when the data is available to the public (if left blank, will be available now)
Creator |  | text string |  | Person who is filling out template
Contact Info |  | text string |  | Contact email for template filler
Primary Publication | repeat section if more than one related publication is needed |  |  | *where this dataset was first published
Authors |  | text string | AB Lastname, JK Second, CD Third, and MN Lastperson | list all author names with no periods, initials then lastname
Title |  | text string |  | title of article
Journal |  | text string |  | standard journal abbreviations or full name
Publication Year |  | numeric | YYYY
Volume |  | numeric
Issue No. |  | numeric
Pages |  | text string | PPP-PPP | e.g. 245-250 (no letters unless part of page number)
doi number |  | text string | doi:10.XXXX/… | do not include https:// or period at the end
Comments on relation to dataset |  | text string |  | keep it brief, e.g. "publication containing 50% new data, 50% reprocessed/compiled"
Study/Dataset Information
Study includes calibration data? |  | text string | Y or N | i.e. formation temperature is known (can be synthetic, biogenic, natural)
Study includes synthetic precipitates? |  | text string | Y or N
Study includes biogenic carbonates? |  | text string | Y or N | e.g. mollusks, forams
Study includes inorganic/natural carbonates? |  | text string | Y or N | e.g. cave carbonates, soil carbonates
Additional information | expand and repeat rows as necessary
Any other information |  | text string

## Methodology
Methodology + Sample Preparation Information | This tab includes data about the study design, sample preparation, mass spectrometric analysis, and data processing methods. Enter the requested information in the "Value" column. Columns in green are required. The "Value Type" column indicates the required format of "Value" entries, and the "Units" column indicates the required units. Examples, and clarifications are provided in the "Comment" column. Any additional information that may be relevant now or in the future can be entered in the bottom-most "Other information" row.
Green cells are required.
Highlight any rows you add in yellow (for example, documenting an additional variable in your particular study)
Sample Preparation Information | repeat appropriate rows if 2 or 3 different preparation methods are used, or write "many" if >3 methods used.
Method of Preparing Powder |  | text string |  | crushed, milled, filtered, etc.
Sample Preparation System |  | text string | acronym | MOL = manual off-line, AKD = Automated Kiel Device, AOL = Automated Off-line, AIL = Automated in-line (e.g. "Passey device")
Acid digestions method |  | text string | acronym | CAB = common acid bath, MCR = McCrea vessel, IND = (Kiel) individual reaction vessels, etc.
Acid temperature |  | numeric | ºC
Acid density |  | numeric | mg/mL | fill in either density or weight %
Acid weight percent |  | numeric | %
Reaction time |  | numeric | minutes
Porapak temperature |  | numeric | ºC
Porapak method |  | text string | abbreviation | GC, staticPPQ = single U-trap, no He-carrier gas, He-PPQ = self-packed PPQ with He-carrier gas
Silver wool used? |  | text string | Y or N
Other clean up steps |  | text string
Mass Spectrometric Analysis | repeat these rows if more than one mass spectrometer is used
Mass Spec ID |  | text string |  | e.g. "Nina" or "BigDog" or "Umich_MAT253"
Location/owner of Mass Spec |  | text string |  | PI/Institution name. Repeat if more than one lab involved (e.g. "Huntington Lab at U.Washington")
Instrument Model |  | text string |  | MAT253, Perspective, etc.
Cycles per acquisition |  | numeric | cycles/acq
Acquisitions per replicate |  | numeric | acq/rep
Integration time |  | numeric | s | e.g. 26 or 8
Centering m/z |  | numeric | m/z | 44, 47, etc.
Volatage on m/z 44 |  | numeric | V | e.g. 16
Current on m/z 44 |  | numeric | nA | e.g. 100 (fill in either Voltage or Current on m/z 44)
LIDI method used? |  | text string | Y or N | long integration dual inlet (LIDI)
Background correction used? |  | text string | Y or N
Background correction method? |  | text string |  | e.g. "once daily" or "every sample"
Standard Values | repeat these four rows if more than one set of values is used
Name of Parameter Set |  | text string |  | e.g. "Santrock/Gonfiantini (SG)"
R13_VPDB |  | numeric | unitless | e.g. 0.0112372 (Santrock/Gonfiantini) or 0.01118 (Brand/IUPAC)
R18_VSMOW |  | numeric | unitless | e.g. 0.0020052 (Santrock/Gonfiantini or Brand/IUPAC)
R17_VSMOW |  | numeric | unitless | e.g. 0.0003799 (Santrock/Gonfiantini) or 0.00038475 (Brand/IUPAC)
Lambda (or beta) |  | numeric | unitless | e.g. 0.5164 (Santrock/Gonfiantini) or 0.528 (Brand/IUPAC)
Data reduction | repeat these rows if ARF calculation method varies within study
Reference frame calculation method |  | text string | acronym | LFW = long fixed window, VMW = variable-length moving window, FMW = fixed length moving window, DM = daily modeled values (polynomial fit)
Gas standards used in ARF corrections? |  | text string | Y or N | ARF = absolute reference frame, does not need to be exclusively gas standards
Carb standards used in ARF corrections? |  | text string | Y or N | ARF = absolute reference frame, does not need to be exclusively carb standards
Comments on ARF correction |  | text string |  | information about choice of correction windows or how they are defined (by date, by Day #)
Additional corrections? |  | text string |  | porapak fractionation, d18O or d13C offset, etc.
Long-term reproducability (1sd) |  | numeric | permil | 1 standard deviation of sample or carbonate standards run many times over a long interval, for calculating external error
Additional information | expand and repeat rows as necessary
Related publication citation for method |  | text string
Any other information |  | text string

## Sample + Standard Replicates
Sample + Standard Replicates |  | This tab should include rows for all sample replicates and all standard replicates (gas or carbonate) used to convert unknown data into the absolute reference frame. Each row in the table should correspond to a single aliquot of CO2. Individual replicates that have been removed from further analysis can be indicated, but should still be included. Columns in green are required. Detailed information on what is expected in each column is below. Add additional columns with information particularly relevant for the individual study design. In total, this tab (along with certain answers in the Metadata tab) should include enough information for someone to completely reproduce conversion from raw data to final D47 values in the absolute reference frame.
Green cells are required.
Highlight any rows you add in yellow (for example, documenting an additional variable in your particular study)
This tab can easily be transitioned into a readable format by deleting the top 6 rows (leaving Row 7 as the header) and saving as a .txt or .csv file.
Working Sample Name (unique name) | Sample/Standard Category (gasSTD, carbSTD, carbonate, sample) | Sample/Standard Sub-Category (HG, EGtemp, synthetic, biogenic, natural, ETH#, other) | Sample Number (integer) | Dominant Mineralogy (C, A, D, S, M, V, W, O, mix, NA) | Secondary Mineralogy (C, A, D, S, M, V, W, O, mix, NA) | Date (MM/DD/YY) | Time (HH:MM) | Analysis ID (integer) | Mass Spectrometer ID | Formation Temperature (deg C) | Error in formation tempreature (deg C) | Temperature of acid reaction (deg C) | Sample? Y = sample, N = not sample | Used in ARF? Y = used in calculating ARF, N = not used | Removed? 0=good/kept, 1=bad/removed | Theoretical Equilibrium value (D47_TE, ‰) | Acid Fractionation Factor (‰) | ARF ID 1 (measurement session ID) | ARF ID 2 (AnalysisID, beginning of window) | ARF ID 3 (AnalysisID, end of window) | d45 (‰, vs. lab working gas) | sd_d45 (‰, 1 standard deviation) | d46 (‰, vs. lab working gas) | sd_d46 (‰, 1 standard deviation) | d47 (‰, vs. lab working gas) | sd_d47 (‰, 1 standard deviation) | d48 (‰, vs. lab working gas) | sd_d48 (‰, 1 standard deviation) | d49 (‰, vs. lab working gas) | sd_d49 (‰, 1 standard deviation) | Working gas d13C (‰, vs. VPDB) | Working gas d18O (‰, vs. VSMOW) | d13C of gas (‰, vs. VPDB) | sd_13 (‰, 1 standard deviation) | d18O of gas (‰, vs. VSMOW) | sd_18 (‰, 1 standard deviation) | D47 of gas (‰, raw) | se_47 (‰, 1 standard error, analytical error only) | D48 of gas (‰, raw) | D49 of gas (‰, raw) | Slope of Equilibrium Gas Lines (HG + EG) | Slope of Emirical Transfer Function (ETF) | Intercept of Empirical Transfer Function (ETF) | Final D47 (reference frame, acid corrected) (‰)
SampName | SampCategory | SampSubCategory | SampNum | Mineralogy | Mineralogy2 | Date | Time | AnalysisID | MassSpec | FormT | erFormT | rxnTemp | SampYN | RefYN | Bad | D47_TE | AFF | ARF_ID1 | ARF_ID2 | ARF_ID3 | d45 | sd_d45 | d46 | sd_d46 | d47 | sd_d47 | d48 | sd_d48 | d49 | sd_d49 | d13C_wg_VPDB | d18O_wg_VSMOW | d13C | sd_18 | d18O | sd_18 | D47 | seD47 | D48 | D49 | SlopeEGL | SlopeETF | IntETF | D47rfac

## Sample Means
Sample Means + Sample Info |  | This tab constains mean isotopic values and sample descriptions for each sample unknown. Each row in the table should correspond to a single unknown sample. Columns in green are required. Detailed information on some columns is below. Feel free to add additional columns with information particularly relevant for the individual study design and highlight in yellow.
Green cells are required.
Highlight any rows you add in yellow (for example, documenting an additional variable in your particular study)
This tab can easily be transitioned into a readable format by deleting the top 6 rows (leaving Row 7 as the header) and deleting columns C (#3) and J (#10) and saving as a .txt or .csv file.
Working Sample Name(unique name) | Sample Description (brief text) | Sample Sub-Category (synthetic, biogenic, natural, other) | Sample Number (integer) | Dominant Mineralogy (C, A, D, S, M, V, W, O, mix, NA) | Formation Temperature (deg C) | Error in formation tempreature (deg C) | Description of Location where sample was collected or sample origin | IGSN (International Geo Sample Number) | Latitude (+=N, -=S, no letters) | Longitude (+=E, -=W, no letters) | Age (Ma or time period) | N (integer number of replicates) | d13C of gas (‰, vs. VPDB), calculated with Brand parameters | sd_13 (‰, 1 standard deviation), calculated with Brand parameters | d18O of gas (‰, vs. VSMOW), calculated with Brand parameters | sd_18 (‰, 1 standard deviation), calculated with Brand parameters | Final D47 (reference frame, acid corrected), calculated using Brand parameters, P D47_TE values and new AFF | seBR47p (‰), calculated with BR parameters and P D47_TE values | external 1SE (‰), calculated using long-term reproducability (1sd) and N
SampName | Description | SampSubCategory | SampNum | Mineralogy | FormT | erFormT | Location | IGSN | Latitude | Longtidue | Age | N | BRd13C | sdBR13 | BRd18O | sdBR18 | D47rfac | seD47 | extSE